**Effective January 1, 2024, Energy Trust offers the following incentives for qualifying new natural gas energy-saving equipment installed at a commercial, municipal or institutional facility in SW Washington:**

* Natural gas customers on NW Natural eligible rate schedules (Schedule 1, 3, 41 or 42) can apply for incentives for qualifying natural gas equipment.
* Incentives are subject to change. To apply, submit a complete Energy Trust incentive application with all required accompanying documentation by the date listed in the application form.

**Lodging Incentives**

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| Commercial Swimming Pool Heater | Must be a replacement, gas-fired pool heater. Heater must not have a continuously burning pilot light. Must have at most 400 kBtu/h capacity per heater, not to exceed a total (or maximum) of 1,000 kBtu/h for all heaters combined. Must have at least 94% thermal efficiency for condensing heaters, or at least 84% efficiency for non-condensing heaters. Site must receive gas from NW Natural. Covered and not covered pools both qualify. Eligible pool covers include solid track, bubble type, or foam type with storage reels.  | Non-condensing Heater, Covered | $0.90 per sq ft of area served by heater |
| Non-condensing Heater, Not covered | $1.00 per sq ft of area served by heater |
| Condensing Heater, Covered | $3.00 per sq ft of area served by heater |
| Condensing Heater, Not covered | $5.00 per sq ft of area served by heater |
| The pool must meet the following minimum area requirements:

|  |  |  |  |
| --- | --- | --- | --- |
| Heater Type | Covered Pool? | Indoor or Outdoor Pool | Minimum Required Pool Sq. Ft. |
| Condensing | No | Indoor | 1,275 |
| Outdoor | 700 |
| Condensing | Yes | Indoor | 2,150 |
| Outdoor | 1,050 |
| Non-condensing | No | Either | 500 |
| Non-condensing | Yes | Indoor | 850 |
| Outdoor | 500 |

 |
| Commercial Pool Cover | Pool must be heated. Pool must not have had a pre-existing cover within 6 months of pool cover installation. Covers installed at residential pools do not qualify. Eligible sites include commercial pools within lodging, fitness centers and municipal centers. Cover must be specifically designed for swimming pools, cover entire pool surface area and utilize a storage reel. Liquid evaporation suppressants, solar disks and mesh covers are ineligible. Pool heating fuel must be gas provided by NW Natural. | $6.00 per sq ft of pool surface area |

**Lodging Incentives *continued***

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| ENERGY STAR®Commercial Laundry Washer, Common areas | Clothes washers must be front-loading machines and [ENERGY STAR rated](https://www.energystar.gov/productfinder/product/certified-commercial-clothes-washers/results)\*. Site must have gas water heater or gas dryer(s) with gas service provided by NW Natural. Leased equipment must be new. A signed lease agreement and documentation that identifies washer quantity, model number(s), and retail cost of clothes washer are required. | $100 each |
| Two-stage Gas Valve on Clothes Dryers | Valves must be installed on commercial gas-fired dryers. Dryers must have 200 or fewer pounds of dry clothes capacity or 65 or fewer cubic feet of dryer drum volume. Valves can be installed on new or existing gas-fired dryers. | Sites with on-premises laundry | $700 each |
| Coin-operated laundromats | $400 each |
| Ozone Laundry Systems | Each ozone laundry system must be new and installed on either new or existing programmable commercial washing machine(s). Each ozone generator may serve one or more washers. All existing/new washers at a facility must be reprogrammed and connected to work with the new ozone laundry system. Partial conversions are not eligible. Water heating for clothes washing must be provided by gas-fired boilers or gas water heaters with gas service provided by NW Natural. The ozone laundry system(s) must transfer ozone into the water with either the venturi injection or bubble diffusion process. | Total laundry capacity is less than 75 lbs: | $5,000 per system |
| Total laundry capacity is between 75 and 125 lbs: | $7,500 per system |
| Total laundry capacity is between 126 and 400 lbs: | $15,000 per system |
| Total laundry capacity is between 401 and 600 lbs: | $25,000 per system |
| Total laundry capacity is greater than 600 lbs: | $30,000 per system |

\* ENERGY STAR ratings: <https://www.energystar.gov/productfinder/product/certified-commercial-clothes-washers/results>

**Foodservice Equipment Incentives**

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| Gas Convection Oven | Must be active on [ENERGY STAR certified product list (version 3.0)\*](https://www.energystar.gov/productfinder/product/certified-commercial-ovens/results). Full size accommodates full sheet, at least 18” x 26” x 1”. | $315 each |
| Gas Combination Oven | Must be active on [ENERGY STAR certified product list (version 3.0)\*](https://www.energystar.gov/productfinder/product/certified-commercial-ovens/results).  | $750 each |
| Single Rack Gas Oven | Must be active on [ENERGY STAR certified product list (version 3.0)\*](https://www.energystar.gov/productfinder/product/certified-commercial-ovens/results). Removable single rack which accommodates full sheet, at least 18” x 26” x 1”. | $1,500 each |
| Double Rack Gas Oven | Must be active on [ENERGY STAR certified product list (version 3.0)\*](https://www.energystar.gov/productfinder/product/certified-commercial-ovens/results). One removable double rack or two removable single racks to accommodate two full sheets per level, each pan at least 18” x 26” x 1”. | $2,000 each |
| Gas Steam Cooker | Cooking energy efficiency must be at least 43%. Idle Rate must be 2,770 BtuTU/h or less. | $3,400 each |
| Commercial Vent Hood with Demand Controlled Ventilation  | Motor speeds must be controlled by a programmable controller, with scheduling, occupancy sensing, and heat sensing capabilities. Variable speed control must be installed on both the make-up air unit motor and the hood exhaust motor. Both motors must be functional. Make-up air must be tempered. Total controlled motor horsepower must be at least 1.0 hp and cannot exceed total existing horsepower of make-up air unit and exhaust fan motor. Must be installed in gas-heated spaces with gas service provided by NW Natural.  | $1,500 per controlled motor horsepower |
| Gas-fired Automatic Conveyor Broiler | Automatic conveyor with catalyst. Input rate must be below 80 kBtu/h or dual stage or modulating gas valve with a capability of throttling the input rate below 80 kBtu/h. Installed under a Type I Vent Hood (used for appliances that produce grease and smoke). | Total conveyor belt width less than 20” | $2,500 each |
| Total conveyor belt width 20” to 26” | $3,000 each |
| Total conveyor belt width greater than 26” | $3,500 each |

**\*** ENERGY STAR certified product list (version 3.0): <https://www.energystar.gov/productfinder/product/certified-commercial-ovens/results>

**HVAC and Water Heating Equipment**

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| New Rooftop Unit (RTU) with Demand Control Ventilation (DCV)  | All installed RTUs must be new units with Direct Expansion (DX) cooling and gas furnace heating. Gas service must be provided by NW Natural. Must serve spaces not required by code to have DCV. Economizer must be factory-installed or contractor-installed at the same time as RTU, with DCV included. | $29 per ton |
| Advanced Rooftop Controls (ARC) - Full Retrofit | Business has at least 500 annual operating hours. Only gas-heated Rooftop Units (RTUs) qualify; gas heating must be provided by NW Natural. Existing system must have a nominal cooling capacity of at least 5 tons. Existing system must have a single speed supply fan or motor. Existing systems equipped with a Variable Frequency Drive (VFD) or a CO2 sensor for Demand Control Ventilation (DCV) do not qualify. Existing systems with economizers do not qualify. Installed equipment must have a controller with digital, integrated economizer with either differential dry-bulb or differential enthalpy with fixed dry-bulb high-limit shutoff. Installed equipment must have a controller with DCV with proportional control based on CO2 sensor reading. Installed equipment controls listed on [BPA qualifying product list\*](https://www.bpa.gov/-/media/Aep/energy-efficiency/document-library/advanced-rooftop-unit-control-qualified-products-list.pdf). | $300 per ton |
| Infrared Radiant Heater | Must be natural gas-fired, low intensity, non-condensing and positive pressure system. Indoor area use only, no greater than 20,000 square feet. Site must receive gas service from NW Natural. | Non-Modulating | $1.25 per kBtu/h input |
| Modulating | $2.25 per kBtu/h input |
| Commercial Condensing Tank Water Heater | Gas-condensing, storage-type water heater must have an integral tank volume at least 10 gallons. Water heater input capacity must be greater than 75 kBtu/h per water heater. Must have at least 94% thermal efficiency (TE) or recovery efficiency. All building types can qualify excluding offices with less than 5,500 sq ft and commercial gyms without shower facilities. Additional storage-only tanks may be present. Site must have water heating provided by NW Natural. Projects where existing water heater is functional, and not at the end of its useful life, do not qualify. | $3.50 per kBtu/h |
| Commercial CondensingTankless Water Heater under 200 kBtu/h input | Gas-condensing units must function as central source for domestic hot water (DHW) heating. Water Heater Uniform Energy Factor (UEF) must be at least 0.94. Water heater input capacity must be less than 200 kBtu/h per water heater. Additional hot water storage tanks cannot be added. Approved models must be found here: [www.ahridirectory.org](https://www.ahridirectory.org/Search/SearchHome?ReturnUrl=%2f). Site must have water heating provided by NW Natural. Projects where existing water heater is functional, and not at the end of its useful life, do not qualify. | $140 each |
| Commercial Condensing Tankless Water Heater/ Boiler at least 200 kBtu/h input  | Gas-condensing domestic hot water (DHW) must not be used for space heating and must serve a central water heating system. Integral tank volume must be less than 10 gallons. Must have at least 94% thermal efficiency (TE). Water heater input capacity must be at least 200 kBtu/h per water heater. All building types can qualify excluding offices less than 5,500 sq ft and commercial gyms without shower facilities. Approved models must be found here: [www.ahridirectory.org](http://www.ahridirectory.org). Site must have water heating provided by NW Natural. | $1.40 per kBtu/h input |
| Commercial Condensing Gas Furnace | Must be primary heating source for the space. Input capacity must be less than 225,000 Btu/h. Must have at least 95% Annual Fuel Utilization Efficiency (AFUE). Must have either multispeed or variable speed Electronically Communicated Motor (ECM) supply fan. Site must have gas heating provided by NW Natural. | $8.25 per kBtu/h input |

\* BPA qualifying product list: <https://www.bpa.gov/-/media/Aep/energy-efficiency/document-library/advanced-rooftop-unit-control-qualified-products-list.pdf>

**HVAC and Water Heating Equipment *continued***

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| Gas-fired High Efficiency Condensing HVAC Boiler | Must have at least 94% efficiency, either Annual Fuel Utilization Efficiency (AFUE) or thermal efficiency (TE). Must have at least 5-to-1 turndown ratio. Must not be a backup, redundant or lagging boiler. Must be used for HVAC purposes: boilers used for domestic hot water (DHW), pool heating, and “heat adders” that serve water-source heat pump systems do not qualify. Boiler system design return temperature must be appropriate to condensing functionality. Cannot be combined with the Modulating Boiler Burner measure. | $6.50 per kBtu/h input |
| Modulating Boiler Burner | Must be installed on a natural gas-fired boiler used for hydronic heating (HVAC). Must replace a dual stage burner or an on-off burner. Must have at least 5-to-1 turndown ratio. Boilers used for process heating, domestic hot water (DHW) or pool heat do not qualify. Cannot be combined with the Gas-fired High Efficiency Condensing HVAC Boiler measure. | $10.00 per kBtu/h of burner rated capacity |
| Steam Trap | Must replace or repair a failed, open existing steam trap. Must be installed on a gas-fired steam boiler system served by NW Natural. All steam traps in the system must be tested for failure status prior to replacement or repair. All systems must be no greater than 50 psig. For repaired traps, invoices for steam trap repair parts are required. | Replaced steam trap | $500 each |
| Repaired steam trap | $400 each |
| Steam Trap – Dry Cleaners | Must replace steam trap(s); repairs do not qualify. Existing equipment may be operating or failed. Steam traps repairs do not qualify. Must be installed on a gas-fired steam boiler system served by NW Natural. Dry cleaner systems must have 75 to 125 psig. Dry cleaner properties must provide details of last steam trap replacement and previous incentives received for steam trap replacement.  | $350 each |

**HVAC and Water Heating Equipment *continued***

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| Commercial Smart Thermostats | Each thermostat must control a single-zone HVAC system with dedicated supply fan. Lodging sites, spaces with 24/7 operation, and semi-conditioned spaces do not qualify. Multiple HVAC systems serving a large open space (retail, grocery, etc.) are eligible if each system has a dedicated controlling thermostat. Self-installed thermostats may be subject to a post-install verification review before payment. A list of qualifying thermostats can be found at <https://www.bpa.gov/-/media/Aep/energy-efficiency/document-library/connected-thermostat-qualified-products-list.pdf>.The following installation requirements must also be met: * If two or more HVAC systems serve the same open space, temperature setpoints, schedules and dead-bands must match. Temperature setback in heating mode must be at least 10°F below the occupied heating setpoint.
* Temperature setback in cooling mode must be at least 5°F above the occupied cooling setpoint.
* Fan schedule set to ‘auto’ mode during unoccupied hours.
* Manual setpoint override must be limited to two hours or less.
* Heat pump with backup resistance heat must enable lock-out with appropriate temperature set-points.
* If a site has existing heating systems with demand-controlled ventilation or advanced rooftop controls, thermostat installers must not disable these systems.
 | $500 each at grocery sites |
| $400 each at non-grocery sites |

\* BPA qualifying product list: <https://www.bpa.gov/-/media/Aep/energy-efficiency/document-library/connected-thermostat-qualified-products-list.pdf>.

**Grocery Equipment**

| **Equipment** | **Requirements** | **Incentive** |
| --- | --- | --- |
| Doors on Open Freezers or Open Refrigerated Cases  | Must be installed in gas-heated spaced with gas service provided by NW Natural. Must add doors to existing, functional open freezers or refrigerated cases. Self-contained refrigeration cases (integrated condensing units) do not qualify. Low temperature is at or below 0°F. Medium temperature is between 1°F and 35°F. | Medium temperature | $350 per linear ft of door |
| Low Temperature | $200 per linear ft of door |
| New Cooler Cases with Doors | Must be a new refrigerated display case with doors: either additional cases are being added or existing cases are being replaced. Doors must be transparent. Cases with solid doors do not qualify. Refurbished cases do not qualify. Must be installed in gas-heated spaces with gas service provided by NW Natural. | Vertical cases - Coolers only | $150 per linear ft of door |
| Horizontal cases - Coolers or Freezers | $150 per linear ft of door |

**Insulation**

Must be installed in gas-heated spaces with gas service provided by NW Natural.

Must be installed in areas of the building envelope that separate conditioned space and unconditioned space.

Insulation installed between conditioned spaces is ineligible.

Damaged or missing insulation must be prequalified and documented by the installation contractor.

| **Upgrade** | **Existing Condition** | **New Condition** | **Requirements** | **Incentive** |
| --- | --- | --- | --- | --- |
| Attic Insulation | R-9 or less | R-25 | Insulate to at least R-25 efficiency rating or fill cavity.  | $0.90 per sq ft |
| Roof Insulation  | R-0 | R-15 | Insulate to at least R-15 efficiency rating or fill cavity below R-15. No existing insulation, unless existing is damaged or missing.  | $2.85 per sq ft |
| Roof Insulation | R-0 | R-30 | Insulate to at least R-30 efficiency rating or fill cavity above R-15.  | $2.85 per sq ft |
| Roof Insulation | R-5 or less | R-30 | Existing insulation is R-5 or less. Insulate to at least R-30 efficiency rating or fill cavity.  | $1.00 per sq ft |
| Wall Insulation | R-6 or less | R-20 | Insulate to at least R-20 efficiency rating or fill cavity.  | $1.30 per sq ft |

**Pipe Insulation**

| **Upgrade** | **Existing Condition** | **Requirements** | **Incentive** |
| --- | --- | --- | --- |
| Pipe Insulation | No Insulation | Must not have existing insulation. Jacketing must provide an appropriate level of protection for the insulation under the given environmental conditions to maintain the life of the insulation. This will commonly be All Service Jacketing (ASJ) or PVC in indoor applications and aluminum or stainless steel jacketing for outdoor projects. Piping must be part of a system using natural gas provided by NW Natural. Water heaters or boilers providing hot water or steam to uninsulated pipes must be natural gas-fired.

|  |  |
| --- | --- |
| **Fluid** | **Pipe Diameter** |
| **1.5 inches or less** | **Greater than 1.5 inches** |
| Domestic Hot Water | 1.5 Inches | 2.0 Inches |
| Heating Hot Water |
| Low Pressure |
| Medium Pressure | 2.0 Inches | 2.5 Inches |

 | Piping serving domestic hot water | $18.00 per linear foot  |
| Piping serving medium pressure steam (15-200 psig) | $25.00 per linear foot |
| Piping serving heating hot water | $25.00 per linear foot |
| Piping serving low pressure steam (less than 15 psig) | $25.00 per linear foot |

**Custom Incentives May Be Available**

|  |
| --- |
| Energy-efficient equipment not listed above may still be eligible for custom incentives. To learn more about these and other incentives, call the Existing Buildings Program at 1.877.510.2130 or visit our website at [[<https://www.energytrust.org/incentives/custom-incentives-washington/>.](https://www.energytrust.org/incentives/custom-incentives-washington/)](https://www.energytrust.org/incentives/custom-incentives-washington/) |