## Introduction
Color Code
"Save It" And "Make It" Template |  | User inputs
Auto-filled from worksheets
Introduction |  | Calculated results
This template was created by Pacific Crest Affordable Housing (PCAH) with support from a Net Zero Fellowship research grant by Energy Trust of Oregon. PCAH adapted this template from an internal spreadsheet developed over the course of multiple projects as a tool to help quantify the long-term value of investments in renewable energy and energy efficiency measures (EEMs). The original spreadsheet helped PCAH earn financial support for additional spending on energy efficiency and renewable energy systems and compare investments in making versus saving energy. Through Energy Trust's Net Zero Fellowship program, PCAH is sharing the template based on feedback that the demonstrated approach may be of value and interest to developers, architects and other professionals involved in creating new multifamily affordable housing. |  | Default assumptions
Instructions
The template was designed from a developer perspective and intended for use with new construction affordable multifamily housing projects in Oregon. It requires estimated energy, cost and incentive information for all proposed EEMs and renewable systems as inputs. The necessary information is typically acquired or available through the development process by working with members of your project team, energy incentive programs and other industry resources. PCAH has included recommendations based on our experience and research through the Net Zero Fellowship for obtaining the necessary information, including "good enough" energy and cost estimates, to utilize the template. The template is organized so the user can progress through the worksheets sequentially, entering information for energy, costs and incentives. In some places, example information has been entered to provide guidance but needs to be overwritten for a new analysis. Once all required information is entered, the proposed measures and renewable systems need to be selected using the Measure Selection tab for inclusion in the energy and financial outputs. The final Output Dashboard tab summarizes key inputs and performs a life-cycle cost analysis and net present value calculations.
Summary of Required Inputs
Energy Worksheet | Costs Worksheet
• Project Name | • Estimated Construction Costs for Code Minimum Measures
• Total Building Square Footage | • Estimated Construction Costs for Individual EEMs
• Estimated Baseline (Code Minimum) Annual Energy Usage | • Estimated Renewable Energy System Costs
• Proposed Energy Efficiency Measures (EEMs) | Incentives Worksheet
• Estimated Energy Savings per EEM | • Estimated Incentives for Energy Efficiency Measures
• Cost of Energy (Electric and Natural Gas Utility Rates) | • Estimated Incentives for Renewables
• Estimated Annual Renewable Energy Production
Summary of Outputs
Energy Outputs | Financial Outputs
• Estimated Total Energy Savings | • Cost per kWh Energy Saved or Made
• Estimated Total Renewable Energy Production | • Life-Cycle Cost Analysis (40-year)
• Energy Use Intensity | • Net Present Value at 20, 30 and 40 years
Disclaimer: Pacific Crest Affordable Housing accepts no responsibility or liability for the information entered by the user, the accuracy of the spreadsheet’s calculations and outputs, or the energy performance of projects which utilize the template as a design tool.

## Glossary of Terms
Glossary of Terms
Code Minimum | Code minimum refers to the minimum requirements for the design and construction of a building to ensure safety and resilience and comply with applicable building energy codes. We recommend using a version of a project with code minimum measures to calculate the baseline costs and baseline energy usage of a project.
Discount Rate | Discount rate is the rate of interest that is used to discount all future cash flows of an investment to derive its net present value (NPV). This accounts for the time value of money (i.e. its potential to earn future interest or returns).
Energy Cost Inflation Adjuster | The energy cost inflation adjuster provides a way to account for changes to the cost of energy over the duration of the life-cycle cost analysis. It is based on compound annual growth rate (CAGR) 10-Year Historical Analysis. We recommend updating this figure on an annual basis.
Energy Efficiency Measure (EEM) | Energy efficiency measures (EEMs) include any equipment, materials and systems that improve a building's energy performance. These are typically organized into categories including the building envelope, HVAC, domestic hot water, lighting and appliances.
Energy Use Intensity (EUI) | Energy use intensity (EUI) refers to the amount of energy used per square foot annually, measured as kbtu per square foot per year (kbtu/sq ft/yr). A lower EUI score is considered better. There are generally two types of EUI used to measure a building's overall energy consumption: site and source. Site EUI is the amount of energy consumed at the building site and reflected in the property's utility bills. Source EUI includes energy lost in the production, transmission and delivery of energy to the property and is a measure of the total energy required to service the property. The template calculates site EUI as a measure of building energy performance. Annual energy end uses or savings estimates can also be put into an EUI form as a method for understanding how different energy uses and savings are related.
Incremental Cost | Incremental cost represents the additional cost required for more energy-efficient systems, materials, and equipment above the costs for baseline systems, materials and equipment. The template calculates this for EEMs using baseline costs and proposed EEM costs. The template assumes the entire cost of a renewable energy system is the incremental cost.
Life Cycle Cost Analysis (LCCA) | Life cycle cost analysis (LCCA) is a method of assessing the total cost of ownership of a project or entity. It is especially useful when evaluating different project alternatives in order to maximize financial performance.
Net EUI | Net EUI, or net energy use intensity, considers renewable energy production as part of a building's total EUI. It is the amount of energy used per square foot annually, measured as kbtu per square foot per year (kbtu/sq ft/yr), minus the amount of renewable energy generated per square foot annually, measured as kbtu per square foot per year (kbtu/sq ft/yr).
Net Present Value (NPV) | Net present value (NPV) is the difference between the present value of cash inflows (benefits) and the present value of cash outflows (detriments) over a period of time. NPV is used in capital budgeting and financial planning to analyze a project's projected profitability.
Units of Energy | kWh: kilowatt hour kBTU: a unit of energy equivalent to 1,000 British thermal units (BTUs) therm: a unit of energy equivalent to 100,000 British thermal units, or 100 kBTUs

## Getting Started
Getting Started |  | Color Code
Instructions: Enter the name and square footage of the proposed project in the General Information section below to get started. The square footage is required by the template for energy use intensity (EUI) calculations. Once general project information is entered, proceed to the Energy, Costs and Incentives worksheets. The worksheets contain example inputs to be overwritten with project-specific information. The Annual Energy Calculator (to the right) was part of the original PCAH spreadsheet and we have included it on this worksheet as an optional resource. It is a stand-alone tool and not required to use the Template. It calculates annual energy consumption from EUI. To use the calculator, enter an EUI and see the corresponding annual energy usage based on the total proposed building square footage. The calculator also allows the user to divide an EUI between electricity (kWh) and therms (gas) based on a user-defined percentage. Experimenting with different EUIs and square footages can build an understanding of the relationship between these figures and energy use totals. |  | User inputs
Auto-filled from worksheets
Calculated results
Default assumptions
Annual Energy Calculator
|  | Energy Use Intensity (kBTU/sq ft/year) | Enter EUI here
|  | Total Building Square Footage (sq ft) | Need total building square footage
Total Annual Energy (kWh)
General Project Information |  | Percentage Natural Gas Consumption of Total Energy | 0%
Project Name | Enter name of project | Building Annual Electricity (kWh)
Total Building Square Footage (sq ft) | Enter total building square footage | Building Natural Gas (Therms)

## Energy Worksheet
Worksheet #1 - Energy Savings and Renewable Energy Estimates |  |  |  |  | Color Code
Instructions: This worksheet accepts basic project and detailed measure and energy information required for the template. Required energy information includes utility rates, estimated baseline annual energy usage, estimated savings for proposed EEMs and estimated annual production for proposed renewable energy systems. If alternative options for EEMs or renewables are being considered, each option can be entered along with its estimated energy savings and later compared using the Measure Selection tool. Utility Rates: The cost of energy has a significant impact on the long-term benefits of energy investments. We recommend obtaining and entering utility rates specific for your project so the template produces accurate outputs. During the initial design stages, utility bills from previous similar projects can be used to calculate an average utility rate or you can seek other industry resources that provide average utility rates for your location. EEMS: At the initial stages of a project, engineering calculations and/or energy modeling software can provide baseline energy usage and energy savings estimates. Work with members of your project team, an energy consultant or industry resources to acquire the necessary energy estimates and enter the information into the green cells below (1, 2). See footnotes below for alternate methods to calculate baseline and proposed building annual energy usage if estimates from energy modeling and/or engineering calculations are unavailable (3). Renewables: For proposed renewable energy systems, energy production estimates based on system type, size and design should be available through your contractor and/or engineer. We strongly recommend NREL's PV Watts tool to estimate solar PV production. |  |  |  |  | User inputs
Auto-filled from worksheets
Calculated results
Default assumptions
PV Watts website: | https://pvwatts.nrel.gov/
Baseline Building Energy Usage* |  | Energy Efficiency Measures (EEMs) | kWh saved | Therms saved | Renewable Energy Systems | kWh Produced | Therms Produced
Baseline Building Annual Electricity (kWh) | 500000 | Example: Attic Insulation R-60 | 5000 |  | Example: Solar PV System | 95000 | 0
Baseline Building Annual Natural Gas (Therms) | 3000 | Example: LED Lighting & Controls | 12000
Baseline Building EUI (kBTU / sq ft / yr) | Need total bldg sq ft | Example: ENERGY STAR Appliances | 3000
*PCAH recommends Oregon Code Minimum (OCM) to calculate baseline energy
Cost of Energy
Electric Utility Rate ($/kWh) | 0.128
Net Meter Credit Ratio Adjuster (%) | 100%
Natural Gas Utility Rate ($/Therm) | 1.102
Notes: 1) Energy incentive programs may require energy modeling and also include resources for participants. Energy Trust offers incentives to offset costs for energy modeling and may offer additional support during the initial design stages among other new building incentives. 2) When engaging an energy consultant or modeler for energy estimates, we recommend asking questions about their methods, assumptions and tools (e.g. software) and being transparent about how you plan to use the information provided. There are different tools and approaches with different strengths and weaknesses; for instance, building energy models can be used to satisfy code compliance purposes, test alternate efficient design options and be used to inform energy savings incentive applications. Proactive communication increases the likelihood of obtaining useful and "good enough" modeling results. 3) Zero Code and Zero Tool are additional resources which can provide baseline and proposed building energy usage estimates from user-provided information. They can be used as a reference or a way to get started if energy modeling and engineering calculations are unavailable. Users should note that Zero Tool relies on older 2003 CBECS survey data to source EUI figures.
Zero Code website: | https://www.zero-code.org/energy-calculator/
Zero Tool website: | https://www.zerotool.org/zerotool/
Note on C15: We recommend obtaining electric utility rates specific for your project so the Template produces accurate outputs. If you have access to power bills for existing projects with the same rate schedule, you can calculate an average utility rate from those statements to use durign the initial design stages. The placeholder value of $0.128 per kWh is based on a PCAH analysis of average 2023 electricity costs for our properties.
Note on C16: The default value is 100% assuming Oregon utilities' net metering credit ratio of 1:1 for surplus kWh electricity uploaded to the grid from onsite solar PV. The credit ratio adjuster was added to the model in anticipation that net meter credits may change in the future. The template currently uses the adjuster for the net annual benefit calculation, applying this adjuster ratio to total renewable energy production. For a net meter credit ratio less than 1:1, the user will need to factor both the estimated percentage of surplus energy subject to net meter credits and the current net meter credit ratio to determine the correct percentage input.
Note on C17: We recommend using natural gas utility rates specific for your project so the Template produces accurate outputs. Changes in the cost of energy can make a large difference in the long-term benefit of energy investments. If you have access to power bills for existing projects with the same expected rate schedule, you can calculate an average utility rate from those statements. Alternately, you can contact your utility company for rate information. The placeholder value of $0.128 per kWh is based on a PCAH analysis of past year average electricity costs for our properties.

## Costs Worksheet
Worksheet #2 - EEM Incremental Costs & Renewables Costs | [5 empty] | Color Code
Instructions: This worksheet accepts estimated cost inputs for proposed EEMs and renewable energy systems. The worksheet uses estimated baseline measure and proposed EEM costs to calculate the incremental cost of energy efficiency measures (EEMs). Early in the development process, initial cost estimates can be taken from past project costs, provided by your contractor or obtained using cost databases such as RSMeans (1). We believe that the best opportunity to obtain accurate cost estimates occurs during the "bid day" process managed by the general contractor (2). Cost estimates can be revised as the project moves through stages of development and better information becomes available. | [5 empty] | User inputs
Auto-filled from worksheets
Calculated results
Default assumptions
Incremental Cost Inputs |  |  |  |  | Cost per kWH Measure Ranking (Without Incentives)
Energy Efficiency Measures (EEMs) | Baseline Measure Costs | Proposed EEM Costs | Incremental EEM Costs | 1st Cost per kWh Saved (Without Incentives) | Rank | Measure Name | Cost per kWh Saved/Made
Example: Attic Insulation R-60 | 8000 | 15000 | 7000 | 1.4 | 1 | #NAME? | #NAME? | Example: Attic Insulation R-60 | 1.4
Example: LED Lighting & Controls | 55000 | 80000 | 25000 | 2.0833 | 2 | #NAME? | #NAME? | Example: LED Lighting & Controls | 2.0833
Example: ENERGY STAR Appliances | 24000 | 42000 | 18000 | 6 | 3 | #NAME? | #NAME? | Example: ENERGY STAR Appliances | 6
[5 empty] | 4 | #NAME? | #NAME?
[5 empty] | 5 | #NAME? | #NAME?
[5 empty] | 6 | #NAME? | #NAME?
[5 empty] | 7 | #NAME? | #NAME?
[5 empty] | 8 | #NAME? | #NAME?
[5 empty] | 9 | #NAME? | #NAME?
[5 empty] | 10 | #NAME? | #NAME?
[5 empty] | 11 | #NAME? | #NAME?
|  |  |  | #VALUE! | 12 | #NAME? | #NAME?
Renewable Energy System Costs |  |  |  |  | 13 | #NAME? | #NAME?
Renewable Energy System | System Cost |  | Cost per kWh Produced (Without Incentives) |  | 14 | #NAME? | #NAME?
Example: Solar PV System | 175000 |  | 1.8421 |  | 15 | #NAME? | #NAME?
[8 empty] | Example: Solar PV System | 1.8421
#VALUE!
#VALUE!
#VALUE!
Notes: 1) RSMeans is a national cost database that can be used to estimate costs based on historical and local data. The online version may offer a free trial for new subscribers.
RS Means website: | https://www.rsmeans.com/
2) For the most accurate incremental and system cost estimates, we recommend working with your general contractor as part of "bid day" to obtain code minimum measure estimates alongside final bids for the proposed project. The "bid day" process typically takes place when construction documents are roughly at 90% completion. Prior to that point, cost estimates will need to utilize other sources such as "best guess" estimates from your contractor, cost databases, industry guidelines and past project costs.
Note on E7: This is the difference between the cost of the proposed EEMs and the cost of code minimum measures, or the additional cost required for improved energy efficiency.
Note on E21: This is the first cost of a renewable system per annual kWh energy produced. Energy savings in Therms has been converted to kWh and included. This metric offers a way to evaluate "bang for the buck".
Note on F7: This is the incremental first cost of a measure per annual kWh energy saved. Energy savings in Therms has been converted to kWh and included.

## Incentives Worksheet
Worksheet #3 - Project Incentives |  |  |  |  | Color Code
Instructions: This worksheet accepts financial incentives for energy efficiency and renewable energy to include in the model's analysis. Work with federal, state and local agencies to find out what incentives are currently available as grants, loans and tax incentives for energy efficiency and renewable energy (1). A helpful national resource for current incentive information is the DSIRE database (link below). Once you identify incentive opportunities, funding organizations typically offer a methodology for estimating the incentive value your project may be eligible to receive. Enter the estimated incentive amounts into the tables below. |  |  |  |  | User inputs
Auto-filled from worksheets
DSIRE incentive database: | https://www.dsireusa.org/ |  |  |  | Calculated results
Energy Efficiency Incentives |  |  | Renewable Energy Incentives |  | Default assumptions
Incentive Name | Amount |  | Incentive Name | Amount
Example: Energy Trust of Oregon - New Building | 25000 |  | Example: Energy Trust - Solar PV | 40000
|  |  | Example: Federal Investment Tax Credit | 52500
Total Energy Efficiency Incentives | 25000 |  | Total Renewable Energy Incentives | 92500
Notes: 1) The Oregon Multifamily Energy Program (OR-MEP) and Energy Trust's commercial buildings incentives are a good place to start for energy incentives for new affordable multifamily housing projects in Oregon.
Oregon Multifamily Energy Program (OR-MEP): |  | https://oregonmultifamilyenergy.com/
Energy Trust of Oregon - New Construction: |  | https://www.energytrust.org/programs/new-construction-major-renovations/

## Measure Selection
Measure Selection Tool | [5 empty] | Color Code
Instructions: Select EEMs and renewables to include in the proposed project analysis by selecting "Yes" or "No" in the Include Measure column. The worksheet will automatically calculate outputs based on the selected measures and populate the Output Dashboard tab. This tool is designed to allow the user to compare and evaluate measures individually, in combination and against alternative measures and systems for their energy and financial impacts (1). | [5 empty] | User inputs | [5 empty] | Yes
[6 empty] | Auto-filled from worksheets | [5 empty] | No
Calculated results
Default assumptions
Energy Efficiency Measures (EEMs) Selection
Energy Efficiency Measure (EEM) | kWh Saved | Therms Saved | Incremental EEM Costs | Cost per kWh Saved* | Include Measure (Select Yes/No) | Incremental Costs and Annual Energy w/ Selected Measures | Incremental Cost | Electricity (kWh) | Natural Gas (Therms) | EUI | % Baseline
Example: Attic Insulation R-60 | 5000 | 0 | 7000 | 1.4 | Yes | Baseline (Code Minimum) Project | 0 | 500000 | 3000 | Need total bldg sq ft
Example: LED Lighting & Controls | 12000 | 0 | 25000 | 2.0833 | Yes | Enter name of project | 225000 | 385000 | 3000 | Need total bldg sq ft
Example: ENERGY STAR Appliances | 3000 | 0 | 18000 | 6 | Yes
Proposed Energy Savings and Offsets From Baseline
"Save Its" (EEMs)
"Make Its" (Renewables)
Total Energy Savings & Offsets
[6 empty] | "Make Its" and "Save Its" Cost per kWh | Without Incentives |  | With Incentives*
[7 empty] | 1st Costs | $ per kWh | 1st Costs | $ per kWh
[6 empty] | "Save Its" (EEMs) | 50000 | 2.5 | 25000 | 1.25
[6 empty] | "Make Its" (Renewables) | 175000 | 1.8421 | 82500 | 0.86842
Totals w/ Selected EEMs | 20000 | 0 | 50000 | 2.5 |  | Combined "Make Its" & "Save Its" | 225000 | 1.9565 | 107500 | 0.93478
Renewable Energy Systems Selection | [5 empty] | * Incentives can be entered on the Incentives Worksheet tab
Renewable Energy System | kWh Produced | Therms Produced | System Cost | Cost per kWh Made | Include System (Select Yes/No) |  | Unit Conversions
Example: Solar PV System | 95000 | 0 | 175000 | 1.8421 | Yes |  | Conversion 1 kBTU --> kWhs |  |  | 0.29307
[7 empty] | Conversion 1 therm --> kBTU |  |  | 99.9761
[7 empty] | Conversion 1 therm --> kWhs |  |  | 29.3001
Totals w/ Selected Renewables | 95000 | 0 | 175000 | 1.8421
Notes: 1) Projected energy and financial impacts assume that energy savings and production estimates are based on accurate assumptions (e.g., occupancy characteristics, control settings) and that the EEMs and renewable systems are performing as designed. Testing and verifying EEMs after installation helps to mitigate construction defects and installation errors. Attention also needs to be paid once a project has opened, including occupant and maintenance education, as well as with systems monitoring and oversight for EEMs and renewables. Systems that self-monitor and alert staff when outages or issues occur reduce the response time for repairs and help maintain optimal energy performance.
Note on F7: This shows the incremental first costs, without incentives, divided by annual energy savings. Annual energy savings in Therms have been converted to kWh and included in the total energy savings.
Note on F22: This shows the renewable system first costs, without incentives, divided by annual energy production. If a system has estimated annual energy production in Therms, it is converted to kWh and included in the total energy produced.
Note on G7: Use the pull-down menu to select measures using the Yes/No options. Measures need to be selected "Yes" to include in the proposed project outputs.
Note on G22: Use the pull-down menu to select systems using the Yes/No options. A system needs to be selected "Yes" to be incorporated in the proposed project outputs.
Note on J17: These show the costs of all currently selected EEMs and renewables. EEMs use incremental first costs. Renewables use total system costs.
Note on K17: First costs divided by the annual kWh saved or made, without incentives. Units of energy in Therms have been converted to kWh and included in total annual kWh.
Note on M17: First Costs minus incentives, divided by the annual kWh saved or made. Units of energy in Therms have been converted to kWh and included in total annual kWh.

## Output Dashboard
Summary of Inputs |  | Model Outputs Template Version 10/18/24
Color Code
Project Information |  | Net Annual Benefit |  |  |  | Energy Use Intensity (EUI) | [37 empty] | User inputs
Property Name | Enter name of project | Total kWh Saved (kWh) | 20000 | 2560 |  | Baseline (Code Minimum) Project EUI | [6 empty] | Need total bldg sq ft | [9 empty] | kBTU/sq ft/year | [20 empty] | Auto-filled from worksheets
Total Building Square Footage (sq ft) | Enter total building square footage | Total Therms Saved (Therms) | 0 | 0 |  | Enter name of project |  |  | Net EUI |  |  |  | Need total bldg sq ft | [9 empty] | kBTU/sq ft/year | [20 empty] | Calculated results
Cost of Energy |  | Total kWh Offset (kWh) | 95000 | 12160 | [39 empty] | Default assumptions
Electric Utility Rate ($/kWh) | 0.128 | Net Annual Benefit (first year) |  | 14720
Net Meter Credit Ratio Adjuster (%) | 100%
Natural Gas Utility Rate ($/Therm) | 1.102 | Life Cycle Cost Analysis* (Net Detriments and Benefits Flow) | # Years
Annual Energy Usage & Production |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Code Minimum Building Electricity (kWh) | 500000 | Net Detriments & Benefits [$/Yr] | -107500 | 14720 | 15198.4 | 15692.348 | 16202.3493 | 16728.9257 | 17272.6157 | 17833.9758 | 18413.58 | 19012.0213 | 19629.912 | 20267.8842 | 20926.5904 | 21606.7046 | 22308.9225 | 23033.9625 | 23782.5662 | 24555.4996 | 25353.5534 | 26177.5439 | 27028.314 | 27906.7342 | 28813.7031 | 29750.1485 | 30717.0283 | 31715.3317 | 32746.08 | 33810.3276 | 34909.1632 | 36043.711 | 37215.1316 | 38424.6234 | 39673.4237 | 40962.8099 | 42294.1013 | 43668.6596 | 45087.891 | 46553.2475 | 48066.228 | 49628.3804 | 51241.3028
Proposed Electricity Usage (kWh) | 385000 | Cumulative Detriments & Benefits [$] | -107500 | -92780 | -77581.6 | -61889.252 | -45686.9027 | -28957.977 | -11685.3613 | 6148.6145 | 24562.1944 | 43574.2158 | 63204.1278 | 83472.0119 | 104398.6023 | 126005.3069 | 148314.2294 | 171348.1918 | 195130.7581 | 219686.2577 | 245039.8111 | 271217.3549 | 298245.669 | 326152.4032 | 354966.1063 | 384716.2548 | 415433.283 | 447148.6147 | 479894.6947 | 513705.0223 | 548614.1855 | 584657.8966 | 621873.0282 | 660297.6516 | 699971.0753 | 740933.8852 | 783227.9865 | 826896.6461 | 871984.5371 | 918537.7845 | 966604.0125 | 1016232.3929 | 1067473.6957
Code Minimum Building Natural Gas (Therms) | 3000 | Break-Even [#Yrs] | # Years 7: B/E
Proposed Natural Gas Usage (Therms) | 3000 | *Does not include equipment lifespans and replacement costs, which affect the projected payback at longer timelines.
Estimated Renewable Energy (kWh) | 95000
1
Estimated Renewable Energy (Therms) | 0 | NPVs of Life Cycle Cost Analysis | # Years 2: Save vs. Make $/kWh; # Years 6: kWh/Yr; # Years 10: w/o Incentives [$]; # Years 30: w/ Incentives [$]
Project Costs |  | 20-Yr Net Present Value [$] | # Years 0: 150959.0745; # Years 10: 1st Cost; # Years 20: $/kWh; # Years 30: 1st Cost; # Years 40: $/kWh
Incremental Costs of EEMs ($) | 50000 | 30-Yr Net Present Value [$] | # Years 0: 264964.2681; # Years 2: Save It*; # Years 6: 20000; # Years 10: 50000; # Years 20: 2.5; # Years 30: 25000; # Years 40: 1.25
Renewable Energy System Costs ($) | 175000 | 40-Yr Net Present Value [$] | # Years 0: 371009.671; # Years 2: Make It; # Years 6: 95000; # Years 10: 175000; # Years 20: 1.8421; # Years 30: 82500; # Years 40: 0.86842
Financial Incentives |  | Break-Even [# Yrs] | # Years 0: 7; # Years 2: Combo; # Years 6: 115000; # Years 10: 225000; # Years 20: 1.9565; # Years 30: 107500; # Years 40: 0.93478
Energy Efficiency Incentives Total ($) | 25000 |  | # Years 2: *Includes solar thermal & DHW savings converted from Therms to kWh
Renewable Energy Incentives Total ($) | 92500
Financial Assumptions
Energy Cost Inflation Adjuster [%/Yr] | 3.25%
Discount Rate [%/Yr] | 4%
Note on C7: We recommend updating this value with user-provided electric utility rates for your project. An average utility rate can be adapted from power bills for existing projects or from databases such as the EIA. The placeholder value of $0.128 per kWh is based on a PCAH past year analysis of average electricity costs under Pacific Power Schedule 35 Net Meter.
Note on C8: The default is set at 100% based on an assumption of Oregon utilities' net metering credit ratio of 1:1 for surplus kWh electricity uploaded to the grid from onsite solar PV. The credit ratio adjuster was added to the model in anticipation that net meter credits will change in the future. The adjuster currently applies to total renewable energy production when determining Net Annual Benefit since this was the simplest way to build the adjustment into the Template. If surplus energy is not credited at 1:1 under net meter agreements, the user will need to factor both the current net meter credit ratio and the percentage of surplus energy from the total renewable energy production receiving credits to determine the correct percentage to use in the adjuster.
Note on C9: An average utility rate can be adapted from natural gas bills for existing projects or from databases such as the EIA. The placeholder value of $1.28 per Therm is based on a PCAH past year analysis of average natural gas costs under Cascade Natural Gas.
Note on C19: The additional cost of all energy efficiency measures above code minimum.
Note on C20: The total cost of renewable energy generating systems.
Note on C25: Based on CAGR 10-Year Historical Analysis. This number must be held consistent between different LCCAs for valid comparisons.
Note on C26: Discount Rate: Market-driven, held steady for all systems.
Note on E13: Break-Even may be hidden in the LCCA table if it occurs beyond year 6 because the table was condensed to fit on a single screen. The number of years to break-even can also be found in the NPVs table below.
Note on E17: Net present value (NPV) is the difference between the present value of cash inflows (benefits) and the present value of cash outflows (detriments) over a period of time. Net present value is used in capital budgeting and financial planning to analyze a project's projected profitability.
Note on F11: This is the total first cost, or initial investment, for energy saving and making improvements to the proposed project. It should be compared directly to the present values below.
Note on G4: Annual electric utility cost savings in the first year.
Note on G5: Annual natural gas utility cost savings in the first year.
Note on G6: Annual electric utility costs savings from renewable energy production in the first year.
Note on H17: This table summarizes a comparison between "Saving" versus "Making" energy. For PCAH's projects, these outputs indicated that once incentives were included there is a clear case for Solar PV providing a better return per dollar spent on making versus saving energy. This analysis led PCAH to prioritize how to maximize the Solar PV array from the very beginning of new projects.